## Sheet
vessel | machinery | code | name | description | interval | commissioning_date | last_done_date | last_done_running_hours
GL IGUAZU | Fire Station | FSN-001 | Fireman Suit | Verify locker providing storage for firefighting equipment contain their full inventory and equipment is in serviceable condition | 1 Month | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Fire Station | FSN-002 | SCBAs /Bottles | Check and ensure that proper air charged pressure are maintained and no leakage | Weekly | 23-Jan-14 | 19-Feb-22
GL IGUAZU | Fire Station | FSN-003 | SCBAs /Bottles | SCABA cylinders shall be examined (face mask and air demand valves are in serviceable condition), Check air charging system, air quality. | Yearly | 23-Jan-14 | 16-Jan-22
GL IGUAZU | Fire Station | FSN-004 | SCBAs /Bottles | Hydrostatic test | 5-yearly | 23-Jan-14 | 09-Jan-19
GL IGUAZU | Fire Station | FSN-005 | Axes/Life Line/Torch | Checked general condition, battery expiration | 1 Month | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Fire Station | FSN-006 | International Shore Connection | Visually checked condition, required number of bolts & nuts | 1 Month | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Fire Station | FSN-007 | Imo Stickers | Checked condition & appropriate location | 1 Month | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Fire Station | FSN-008 | Isolating Valve for Fire Main Line | Visually checked general condition, serviceable & operational condition | 1 Month | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Fire Station | FSN-009 | EEBD | Checked general condition and examined cylinder gauges | Weekly | 23-Feb-19 | 19-Feb-22
GL IGUAZU | Fire Station | FSN-010 | Master Control Cabinet for FOAM Discharge Alarm System | Visually checked general condition | 1 Month | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Fire Station | FSN-011 | Main Control Panel for Local Fire Extinguishing System | Visually checked general condition | 1 Month | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Fire Station | FSN-012 | General Alarm Switch | Visually checked general condition, serviceable & operational condition | 1 Month | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Fire Station | FSN-013 | Remote Stop of Ventilator Fan for Accomodation Space, Machinery Space, F.O & L.O. Pump | Visually checked general condition | 1 Month | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Fire Station | FSN-014 | Remote Start/Stop Push Button for Fire & Bilge Pump | Visually checked general condition, serviceable & operational condition | 1 Month | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Fire Station | FSN-015 | Refills for Portable Fire Extinguisher | Checked general condition, quantity and expiration of 0.9L Foam & 6kg Dry Powder | 1 Month | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Fire Station | FSN-016 | Spare CO2 Cartridge | Checked general condition and quantity | 1 Month | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Fire Station | FSN-017 | Chemical Suit | Checked general condition and quantity | 1 Month | 23-Jan-14 | 05-Feb-22