## Sheet
vessel | machinery | code | name | description | interval | commissioning_date | last_done_date | last_done_running_hours
GL IGUAZU | Foam Fire Extinguishing System | FES-001 | Foam liquid tank | Check for leaks & foam liquid to be on the prescribed level (if not to sufficient to be replenished) | Monthly | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Foam Fire Extinguishing System | FES-002 | Automatic valves | Check that no deformation & damaged outside observed. Wires & connections not loosened or lost. | Monthly | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Foam Fire Extinguishing System | FES-003 | Automatic valves | Operational check | 3 months | 23-Jan-14 | 18-Dec-21
GL IGUAZU | Foam Fire Extinguishing System | FES-004 | Manual valves | Check that no deformation & damaged outside observed. Maintained in normal state. | Monthly | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Foam Fire Extinguishing System | FES-005 | Foam liquid pump | Check that no deformation & damaged outside observed. Wires & connections not loosened or lost. No abnolmality on bolts & nuts. | Monthly | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Foam Fire Extinguishing System | FES-006 | Foam liquid pump | Operational check See 4.8 "Foam liquid mixing device" (p5) | 3 motnhs | 23-Jan-14 | 22-Jan-22
GL IGUAZU | Foam Fire Extinguishing System | FES-007 | Control panel | Check that no deformation & damaged outside observed. Power indication lamp lit up, spare parts fully provided, no deformation & damaged on switches & terminals not loosened or lost. | Monthly | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Foam Fire Extinguishing System | FES-008 | Control panel | Check lightings & alarms with respective switches. | 6 months | 23-Jan-14 | 05-Dec-21
GL IGUAZU | Foam Fire Extinguishing System | FES-009 | Diaphragm control valve | Check that no deformation & damaged outside observed. | Monthly | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Foam Fire Extinguishing System | FES-010 | Diaphragm control valve | Open upper part of the valve to damages on diaphragm sheet, move spindle up & down to see that the valve is not stuck | 6 months | 23-Jan-14 | 25-Sep-21
GL IGUAZU | Foam Fire Extinguishing System | FES-011 | Foam generator | Check that no deformation & damaged outside observed. Foam generatng net not clogged with dust, no foreign material attached on. | 6 months | 23-Jan-14 | 25-Sep-21
GL IGUAZU | Foam Fire Extinguishing System | FES-012 | Fixed Foam fire-extinguishing system | Verification of all control and section valves are in the proper open and closed position and all pressure gauges are in the proper range. | 1 Month | 23-Jan-14 | 05-Feb-22
GL IGUAZU | Foam Fire Extinguishing System | FES-013 | Fixed Foam fire-extinguishing system | Verification of proper quantity of foam concentrate in the foam system storage tank. | Quarterly | 23-Jan-14 | 22-Jan-22
GL IGUAZU | Foam Fire Extinguishing System | FES-014 | Fixed Foam fire-extinguishing system | Functional test, and taking sample, etc. | Yearly | 23-Jan-14 | 09-Mar-21
GL IGUAZU | Foam Fire Extinguishing System | FES-015 | Fixed Foam fire-extinguishing system | Inspection, air test of nozzles, and functional test as per checklist. | 5-yearly | 23-Jan-14 | 08-Jan-19