## Sheet
vessel | machinery | code | name | description | interval | commissioning_date | last_done_date | last_done_running_hours
GL IGUAZU | No.1 Sanitary Space Exh. Fan | SEF01-001 | Power supply & operation | Check for voltage, current vibration, noise & fumes | Monthly | 23-Jan-14 | 29-Jan-22
GL IGUAZU | No.1 Sanitary Space Exh. Fan | SEF01-002 | Installation & coating | visual check for bolts looness & peeling of paints | 3 months | 23-Jan-14 | 28-Dec-21
GL IGUAZU | No.1 Sanitary Space Exh. Fan | SEF01-003 | Insulation resistance, bet. Winding & ground | Check by megger, result must be higher than the valve specified in 7.1.3 | 3 months | 23-Jan-14 | 28-Dec-21
GL IGUAZU | No.1 Sanitary Space Exh. Fan | SEF01-004 | Terminal box, junction | Visual check, no evidence of water & dust inside the box. | 3 months | 23-Jan-14 | 28-Dec-21
GL IGUAZU | No.1 Sanitary Space Exh. Fan | SEF01-005 | Terminal box, internal check packing. | Visual check, no degradation, damage or deformation. | 3 months | 23-Jan-14 | 28-Dec-21
GL IGUAZU | No.1 Sanitary Space Exh. Fan | SEF01-006 | Impeller | Visual Check for dust, peeling of coating, rust | Yearly | 23-Jan-14 | 28-Dec-21
GL IGUAZU | No.1 Sanitary Space Exh. Fan | SEF01-007 | Motor appearance | Visual Check for dust, peeling of coating, rust | Yearly | 23-Jan-14 | 28-Dec-21
GL IGUAZU | No.1 Sanitary Space Exh. Fan | SEF01-008 | Motor mounting | Visual Check for dust, peeling of coating, rust | Yearly | 23-Jan-14 | 28-Dec-21
GL IGUAZU | No.1 Sanitary Space Exh. Fan | SEF01-009 | Bolts & fasteners packings | Visual check for rust, corrosion degradation, damage & deformation | Yearly | 23-Jan-14 | 28-Dec-21
GL IGUAZU | No.1 Sanitary Space Exh. Fan | SEF01-010 | Motor bearing | Replace | 2 years | 23-Jan-14 | 28-Dec-21