## Sheet
vessel | machinery | code | name | description | interval | commissioning_date | last_done_date | last_done_running_hours
GL IGUAZU | ECR Air Conditioner | ACS-001 | Air Filter | Clean | 2 Weeks | 23-Jan-14 | 19-Feb-22
GL IGUAZU | ECR Air Conditioner | ACS-002 | Drain pan | Clean | 3 months | 23-Jan-14 | 01-Feb-22
GL IGUAZU | ECR Air Conditioner | ACS-003 | Condenser & anti-corrosive zinc anode | Clean and inspect or replace | 3 months | 23-Jan-14 | 01-Feb-22
GL IGUAZU | ECR Air Conditioner | ACS-004 | Fan bearing | Lubricate with grease | 3 months | 23-Jan-14 | 01-Feb-22
GL IGUAZU | ECR Air Conditioner | ACS-005 | Fan belt | Re-adjust & inspect belt capability & its tension. | 3 months | 23-Jan-14 | 01-Feb-22
GL IGUAZU | ECR Air Conditioner | ACS-006 | Power source, condenser outlet temperature, differential temp. of inlet & outlet, room temp. vibration & noise | Check according to the relevant tester | Daily | 23-Jan-14 | 20-Feb-22
GL IGUAZU | ECR Air Conditioner | ACS-007 | Evaporator | Clean and inspect or replace | 6 months | 23-Jan-14 | 01-Feb-22