## Sheet
vessel | machinery | code | name | description | interval | commissioning_date | last_done_date | last_done_running_hours
GL IGUAZU | Fire and GS Pump | FGS-001 | Submerged line bearing | Check up sliding surfaces for points of contact & injury | 8000 Hours | 23-Jan-14 | 10-Sep-18 | 200
GL IGUAZU | Fire and GS Pump | FGS-002 | Mechanical seal | Check up condition of mating surfaces | 8000 Hours | 23-Jan-14 | 15-Oct-18 | 200
GL IGUAZU | Fire and GS Pump | FGS-003 | Mechanical seal | Renew | 20000 Hours | 23-Jan-14 | 15-Oct-18 | 200
GL IGUAZU | Fire and GS Pump | FGS-004 | Shaft | Check up contact points & injury in portions facing packing & bearing. | 8000 Hours | 23-Jan-14 | 15-Sep-15 | 200
GL IGUAZU | Fire and GS Pump | FGS-005 | Shaft | Check up points of contact, damage & bend in sliding face. | 20000 Hours | 23-Jan-14 | 15-Oct-18 | 200
GL IGUAZU | Fire and GS Pump | FGS-006 | O-ring | Check up surface damage & condition of deterioration. Renew it if deformed. | 8000 Hours | 23-Jan-14 | 15-Oct-18 | 200
GL IGUAZU | Fire and GS Pump | FGS-007 | O-ring | Renew | 20000 Hours | 23-Jan-14 | 15-Oct-18 | 200
GL IGUAZU | Fire and GS Pump | FGS-008 | Impeller | Check up wear & condition of corrosion of all parts, & measure sliding faces in contact with casing rings & a bore of casing rings. | 8000 Hours | 23-Jan-14 | 15-Oct-18 | 200
GL IGUAZU | Fire and GS Pump | FGS-009 | Casing ring | Check up contact points, wear & condition of corrosion. | 8000 Hours | 23-Jan-14 | 15-Oct-18 | 200
GL IGUAZU | Fire and GS Pump | FGS-010 | Friction Joint | Check up condition of wear & renew if abnormal points are found. | 8000 Hours | 23-Jan-14 | 15-Oct-18 | 200
GL IGUAZU | Fire and GS Pump | FGS-011 | Outer peripheral sections (motor). Vibration | Check with vibrometer, perception | Daily | 23-Jan-14 | 20-Feb-22
GL IGUAZU | Fire and GS Pump | FGS-012 | Outer peripheral sections (motor). Abnormal noise | Check by sound listening bar, acoustic sense. | Daily | 23-Jan-14 | 20-Feb-22
GL IGUAZU | Fire and GS Pump | FGS-013 | Outer peripheral sections (motor). Frame termperature | Check by Thermometer perception | Daily | 23-Jan-14 | 20-Feb-22
GL IGUAZU | Fire and GS Pump | FGS-014 | Outer peripheral sections (motor). Ventilation | Check the inlet & outlet air temperatures as well as flow rate through sense & by using thermometer | Monthly | 23-Jan-14 | 10-Feb-22
GL IGUAZU | Fire and GS Pump | FGS-015 | Power source. Voltage, current, etc. | Check at instrument panel | Daily | 23-Jan-14 | 20-Feb-22
GL IGUAZU | Fire and GS Pump | FGS-016 | Periphery of bearing. Bearing sound. | Check with sound listening bar | Daily | 23-Jan-14 | 20-Feb-22
GL IGUAZU | Fire and GS Pump | FGS-017 | Periphery of bearing. Bearing temperature. | Check with thermometer. | Daily | 23-Jan-14 | 20-Feb-22
GL IGUAZU | Fire and GS Pump | FGS-018 | Periphery of bearing. Bearing vibration. | Check with vibrometer, perception | Daily | 23-Jan-14 | 20-Feb-22
GL IGUAZU | Fire and GS Pump | FGS-019 | Periphery of bearing. Discharge grease | Check the color, odor & hardness | 3 months | 23-Jan-14 | 14-Dec-21
GL IGUAZU | Fire and GS Pump | FGS-020 | Periphery of bearing. Oil leakage |  | Monthly | 23-Jan-14 | 10-Feb-22
GL IGUAZU | Fire and GS Pump | FGS-021 | Inside of motor. Wiring megOhm | By megger | 3 months | 23-Jan-14 | 14-Dec-21
GL IGUAZU | Fire and GS Pump | FGS-022 | Odor |  | Daily | 23-Jan-14 | 20-Feb-22
GL IGUAZU | Fire and GS Pump | FGS-023 | Inside of motor. Dust | Check for free of dust, foreign substance & water | Yearly | 23-Jan-14 | 22-Oct-21
GL IGUAZU | Fire and GS Pump | FGS-024 | Inside of terminal box. Compressed terminal | Additional tightening of bolts | Yearly | 23-Jan-14 | 22-Oct-21
GL IGUAZU | Fire and GS Pump | FGS-025 | Inside of terminal box. Terminal stand | Check for dust | Yearly | 23-Jan-14 | 22-Oct-21
GL IGUAZU | Fire and GS Pump | FGS-026 | Inside of terminal box. Lead wire | Check for scratch & crack on coating | Yearly | 23-Jan-14 | 22-Oct-21
GL IGUAZU | Fire and GS Pump | FGS-027 | Others. Conditon of coupling section | Check the coupling | Yearly | 23-Jan-14 | 22-Oct-21
GL IGUAZU | Fire and GS Pump | FGS-028 | Others. Tightening parts. | Check the leg bolts. Etc. | Yearly | 23-Jan-14 | 22-Oct-21