## Sheet
vessel | machinery | code | name | description | interval | commissioning_date | last_done_date | last_done_running_hours
VALIANT SPLENDOR | Emergency Fire Pump | EFP-001 | Submerged line bearing | Check up sliding surfaces for points of contact & injury | 5 years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-002 | Gland packing | Check up condition of fitting & amount of leak. Renew it if too much | 3 months | 19-May-20 | 20-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-003 | Shaft | Check up contact points & injury in portions facing packing & bearing. | 3 years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-004 | Shaft | Check up points of contact, damage & bend in sliding face. | 5 years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-005 | O-ring | Check up surface damage & condition of deterioration. Renew it if deformed. | 3 years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-006 | O-ring | Renew | 5 years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-007 | Impeller | Check up wear & condition of corrosion of all parts, & measure sliding faces in contact with casing rings & a bore of casing rings. | 5 years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-008 | Mouth ring | Check up contact points, wear & condition of corrosion. | 5 years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-009 | Casing ring | Check up contact points, wear & condition of corrosion. | 5 years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-010 | Attach pump ball bearing | Check up contact points, wear & condition of corrosion. | 3 years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-011 | Attach pump packing | Check up contact points, wear & condition of corrosion. | 3 years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-012 | Attach pump piston & piston packing | Check up contact points, wear & condition of corrosion. | 3 years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-013 | Attach pump spring | Check up contact points, wear & condition of corrosion. | 3 years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-014 | Shaft coupling bolts,nuts & washer | Check up condition of wear & renew if abnormal points are found. | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-015 | Outer peripheral sections (motor). Vibration | Check with vibrometer, perception | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-016 | Outer peripheral sections (motor). Abnormal noise | Check by sound listening bar, acoustic sense. | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-017 | Outer peripheral sections (motor). Frame termperature | Check by Thermometer perception | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-018 | Outer peripheral sections (motor). Ventilation | Check the inlet & outlet air temperatures as well as flow rate through sense & by using thermometer | Monthly | 19-May-20 | 13-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-019 | Power source. Voltage, current, etc. | Check at instrument panel | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-020 | Periphery of bearing. Bearing sound. | Check with sound listening bar | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-021 | Periphery of bearing. Bearing temperature. | Check with thermometer. | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-022 | Periphery of bearing. Bearing vibration. | Check with vibrometer, perception | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-023 | Electric Motor bearing | Overhaul | 5 Years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-024 | Drive Electric motor | Cleaning/Overhaul | 5 Years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | Emergency Fire Pump | EFP-025 | Inside of motor. Wiring megOhm | By megger | 3 months | 19-May-20 | 20-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-026 | Odor |  | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-027 | Inside of motor. Dust | Check for free of dust, foreign substance & water | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-028 | Inside of terminal box. Compressed terminal | Additional tightening of bolts | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-029 | Inside of terminal box. Terminal stand | Check for dust | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-030 | Inside of terminal box. Lead wire | Check for scratch & crack on coating | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-031 | Others. Conditon of coupling section | Check the coupling | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | Emergency Fire Pump | EFP-032 | Others. Tightening parts. | Check the leg bolts. Etc. | Yearly | 19-May-20 | 19-May-22