## Sheet
vessel | machinery | code | name | description | interval | commissioning_date | last_done_date | last_done_running_hours
VALIANT SPLENDOR | Sewage Treatment Plant | SWG-001 | Pressure reducing valve at air inlet | Regular draining | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | Sewage Treatment Plant | SWG-002 | Sludge return line scum return line (note 1) | Perform regular check up | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | Sewage Treatment Plant | SWG-003 | Chlorination tablet in the chlorinator | Maintain cholrine at normal level | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | Sewage Treatment Plant | SWG-004 | Residual chlorine content in treated water | Maintain from 0- 0.5 ppm | Weekly | 19-May-20 | 21-May-22
VALIANT SPLENDOR | Sewage Treatment Plant | SWG-005 | Chlorinator (note 3) | Clean chlorinator | Monthly | 19-May-20 | 13-May-22
VALIANT SPLENDOR | Sewage Treatment Plant | SWG-006 | Discharge pump | Check for mechanical seal leakage | Monthly | 19-May-20 | 13-May-22
VALIANT SPLENDOR | Sewage Treatment Plant | SWG-007 | Aeration compartment | Discharge of excess sludge | 3 months | 19-May-20 | 20-May-22
VALIANT SPLENDOR | Sewage Treatment Plant | SWG-008 | Clarification compartment | Check for inside for fouling | 3 months | 19-May-20 | 20-May-22
VALIANT SPLENDOR | Sewage Treatment Plant | SWG-009 | Tank, discharge pump | Inspect the inside of the tank & all components | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | Sewage Treatment Plant | SWG-010 | Pressure reducing valve | Check for clogging. | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | Sewage Treatment Plant | SWG-011 | Inside the tank | Check the coating & layer inside the tank | 3 years | 19-May-20 | 19-May-20