## Sheet
vessel | machinery | code | name | description | interval | commissioning_date | last_done_date | last_done_running_hours
VALIANT SPLENDOR | FW Pump No.1 | FWP01-001 | Gland packing | Check up condition of fitting & amount of leak. Renew it if too much | 3 months | 19-May-20 | 20-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-002 | Shaft | Check up contact points & injury in portions facing packing & bearing. | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-003 | Shaft | Check up points of contact, damage & bend in sliding face. | 5 Years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | FW Pump No.1 | FWP01-004 | O-ring | Check up surface damage & condition of deterioration. Renew it if deformed. | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-005 | O-ring | Renew | 5 Years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | FW Pump No.1 | FWP01-006 | Impeller | Check up wear & condition of corrosion of all parts, & measure sliding faces in contact with casing rings & a bore of casing rings. | 5 Years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | FW Pump No.1 | FWP01-007 | Mouth ring | Check up contact points, wear & condition of corrosion. | 5 Years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | FW Pump No.1 | FWP01-008 | Shaft coupling bolts, nuts & washer | Check up condition of wear & renew if abnormal points are found. | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-009 | Sealing ring | Check up contact points, wear & condition of corrosion. | 5 Years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | FW Pump No.1 | FWP01-010 | Outer peripheral sections (motor). Vibration | Check with vibrometer, perception | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-011 | Outer peripheral sections (motor). Abnormal noise | Check by sound listening bar, acoustic sense. | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-012 | Outer peripheral sections (motor). Frame termperature | Check by Thermometer perception | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-013 | Outer peripheral sections (motor). Ventilation | Check the inlet & outlet air temperatures as well as flow rate through sense & by using thermometer | Monthly | 19-May-20 | 13-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-014 | Power source. Voltage, current, etc. | Check at instrument panel | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-015 | Periphery of bearing. Bearing sound. | Check with sound listening bar | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-016 | Periphery of bearing. Bearing temperature. | Check with thermometer. | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-017 | Periphery of bearing. Bearing vibration. | Check with vibrometer, perception | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-018 | Periphery of bearing. Discharge grease | Check the color, odor & hardness | Hours | 19-May-20
VALIANT SPLENDOR | FW Pump No.1 | FWP01-019 | Periphery of bearing. Oil leakage |  | Hours | 19-May-20
VALIANT SPLENDOR | FW Pump No.1 | FWP01-020 | Electric Drive motor | Overhaul | 5 Years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | FW Pump No.1 | FWP01-021 | Electric Motor bearing | Cleaning/Overhaul | 5 Years | 19-May-20 | 19-May-20
VALIANT SPLENDOR | FW Pump No.1 | FWP01-022 | Inside of motor. Wiring megOhm | By megger | 3 months | 19-May-20 | 20-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-023 | Odor |  | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-024 | Inside of motor. Dust | Check for free of dust, foreign substance & water | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-025 | Inside of terminal box. Compressed terminal | Additional tightening of bolts | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-026 | Inside of terminal box. Terminal stand | Check for dust | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-027 | Inside of terminal box. Lead wire | Check for scratch & crack on coating | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-028 | Others. Conditon of coupling section | Check the coupling | Yearly | 19-May-20 | 19-May-22
VALIANT SPLENDOR | FW Pump No.1 | FWP01-029 | Others. Tightening parts. | Check the leg bolts. Etc. | Yearly | 19-May-20 | 19-May-22