## Sheet
vessel | machinery | code | name | description | interval | commissioning_date | last_done_date | last_done_running_hours
VALIANT SPLENDOR | Reefer Provision Plant No.1 | RPP01-001 | Discharge pressure, suction pressure, cooling water temperature, Operating current & Voltage, vibration, operating sound, oil level & liquid level. | Check & all must be within normal as specified in the manual | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | Reefer Provision Plant No.1 | RPP01-002 | Refrigerant system | Check for leakage | 3 months | 19-May-20 | 18-Mar-22
VALIANT SPLENDOR | Reefer Provision Plant No.1 | RPP01-003 | Condenser | Check & clean with the head & rear covers removed | 3 months | 19-May-20 | 18-Mar-22
VALIANT SPLENDOR | Reefer Provision Plant No.1 | RPP01-004 | Sacrificial anode | Check both covers | 3 months | 19-May-20 | 18-Mar-22
VALIANT SPLENDOR | Reefer Provision Plant No.1 | RPP01-005 | Compressor | Check the operating conditions & decide on replacement | 4 years | 19-May-20 | 19-May-20