## Sheet
vessel | machinery | code | name | description | interval | commissioning_date | last_done_date | last_done_running_hours
VALIANT SPLENDOR | ER Supply Fan No.2 | ERF02-001 | Power supply & operation | Check for voltage, current vibration, noise & fumes | Daily | 19-May-20 | 22-May-22
VALIANT SPLENDOR | ER Supply Fan No.2 | ERF02-002 | Installation & coating | visual check for bolts looness & peeling of paints | 3 months | 19-May-20 | 20-May-22
VALIANT SPLENDOR | ER Supply Fan No.2 | ERF02-003 | Insulation resistance, bet. Winding & ground | Check by megger, result must be higher than the valve specified in 7.1.3 | 3 months | 19-May-20 | 20-May-22
VALIANT SPLENDOR | ER Supply Fan No.2 | ERF02-004 | Terminal box, junction | Visual check, no evidence of water & dust inside the box. | 3 months | 19-May-20 | 20-May-22
VALIANT SPLENDOR | ER Supply Fan No.2 | ERF02-005 | Terminal box, internal check packing. | Visual check, no degradation, damage or deformation. | 3 months | 19-May-20 | 20-May-22
VALIANT SPLENDOR | ER Supply Fan No.2 | ERF02-006 | Impeller | Visual Check for dust, peeling of coating, rust | 2 years | 19-May-20 | 19-May-22
VALIANT SPLENDOR | ER Supply Fan No.2 | ERF02-007 | Motor appearance | Visual Check for dust, peeling of coating, rust | 2 years | 19-May-20 | 19-May-22
VALIANT SPLENDOR | ER Supply Fan No.2 | ERF02-008 | Motor mounting | Visual Check for dust, peeling of coating, rust | 2 years | 19-May-20 | 19-May-22
VALIANT SPLENDOR | ER Supply Fan No.2 | ERF02-009 | Bolts & fasteners packings | Visual check for rust, corrosio degradation, damage & deformation | 2 years | 19-May-20 | 19-May-22
VALIANT SPLENDOR | ER Supply Fan No.2 | ERF02-010 | Electric motor bearing | Replace | 2 years | 19-May-20 | 19-May-22
VALIANT SPLENDOR | ER Supply Fan No.2 | ERF02-011 | Electric Motor | Clean/overhaul | 2 years | 19-May-20 | 19-May-22